## QUOTATION
HI - TECH SOLAR SOLUTION Solutions You Can Trust.
[8 empty] | Date: | 2026-05-09
GSTIN : 24AAPFH9566D1Z1
OFFICE - 2nd Floor Gujarat Light, Nr Mahila Police Station, Godhra Road, Dahod - 389151
Customer Information
Name : |  | Dr Aashish |  |  |  | Meter Phase : |  | Three Phase
Adrees : |  | Govind Nagar |  |  |  | Consumer Num :
Contact Number : | [5 empty] | Discom : |  | MGVCL
Description of Services:
We propose to provide the following services for the installation of a solar plant:
Design and Engineering: Our team of experts will design a customized solar plant tailored to your energy needs and site specifications. Procurement of Materials: We will procure high-quality solar panels, inverters, mounting structures, and other necessary components from reputable manufacturers. Installation: Our skilled technicians will carry out the installation of the solar panels, inverters, and associated equipment with precision and efficiency. Testing and Commissioning: We will conduct rigorous testing procedures to ensure the proper functioning of the solar plant before commissioning it for regular operation. Training and Support: We will provide training sessions for your staff on the operation and maintenance of the solar plant. Additionally, we offer ongoing technical support and maintenance services.
Project Details: |  |  |  |  | Proposed Solution:
Type of Solar Plant: |  | ON GRID |  |  | System Size: |  | 3 | kw
Location: |  | home |  |  | System Type : |  | ON GRID
Available Roof Space: |  | 1500 | sqft |  | Type of Solar Panels: |  | TOPCON BI-FACIAL
Unit Consumption: |  | 0 | /Month | AVG | Inverter Type: |  | ON GRID
Desired System Size: |  | 0 |  |  | Required Area: |  | 180Sqft
System Orientation: |  | Roof Top |  |  | Required Structure Hight |  | 6-8 | Feet
REMARKS :
A Billing of Quantities
Sr No | Item Name |  | Make |  | Description |  |  | Unit | Quantity
1 | Solar Module |  | PAHAL SOLAR |  | 600 WP BI - FACIAL Module 30 Year Of Generation Warranty |  |  | Nos | 5
2 | Inverter |  | SUNGROW |  | 8 Years warranty From Company |  |  | Nos | 1
3 | ACDB/DCDB Box |  | MCB :-Schneider SPD ;-Finder |  | MNRE/Indian Electrical Standard complied |  |  | Set | 1
4 | Lighting Arrestor and Earthing Set |  | Reputed Brand |  | MNRE/Indian Electrical Standard complied |  |  | Set | 1
5 | Module Mounting Structure |  | HINDUSTAR 60 Micrones |  | Hot Dip Galvanized with appropriate analysis for Load/Wind speed |  |  | Set | SET
Electrical Item BOQ
| COMPONENT |  |  | UPTO 4 KW |  | 4.01 TO 5.99 KW |  | 6 KW TO 9.9 KW
6 | AC CABLE - APAAR |  |  | 10 MTR |  | 10 MTR |  | 21 MTR
7 | EARTHING CABLE - INDOCAB |  |  | 50 MTR |  | 50 MTR |  | 50 MTR
8 | LA CABLE - KANBERY |  |  | 20 MTR |  | 20 MTR |  | 20 MTR
9 | DC CABLE - HAVELLS |  |  | 40 MTR |  | 60 MTR |  | 60 MTR
10 | CONDUIT PIPE |  |  | 20 NOS |  | 20 NOS |  | 20 NOS
11 | ELBOW |  |  | 20 NOS |  | 20 NOS |  | 20 NOS
12 | TEE |  |  | 5 NOS |  | 5 NOS |  | 5 NOS
10 | Civil Works |  |  |  | Foundation Block
11 | Installation and Commissioning |  |  |  | Hi – Tech Solar Solution Scope
Solar RoofTop System Pricing
Sr No | Item Name |  |  | Quantity | Unit | Price / Unit |  | Amount |  | adani topcon | adani bi facial | pahal topcon
1 | Solar Power Generating System Rate with Incluid GST@5.7% |  |  | 3 | KW | 48565.044 |  | 145695.132 |  | 54543.0919 | 51257.448 | 48565.044
| Basic System Cost | [6 empty] | 145695.132
2 | Solar Net Meter Charges & PPA Charges |  |  | 1 | NOS | 2200 |  | 2200
3 | High-rise Structure Cost |  |  | 0 | FT/KW | 1200 |  | 0
4 | Extra Cabaling Cost |  |  | 0 | MTR | 200 |  | 0
5 | Transportation Cost |  |  | 1 |  | 0 |  | 0
[13 empty] | 6 | DISSCOUNT | -5000
[6 empty] | GRAND TOTAL |  | 147895.132
| *Payment received Befor installation | [6 empty] | 118316.1056
| *Payment After installation | [6 empty] | 29579.0264 |  | adani topcon |  | adani BI FACIAL |  | PAHAL TOPCON
| PM- SURYA GHAR: MUFT BIJLI YOJNA SUBSIDY Subsidy Amount is subject to PM- SURYA GHAR: MUFT BIJLI YOJNA . HI-TECH SOLAR SOLUTION IS NOT RESPONSIBLE FOR ANY KIND OF CHANGES / DELAYS AND DEDUCTION IN SUBSIDY RATE. | [6 empty] | 68640 |  | 68640 |  | 73500 |  | 78000
| Effective Plant Cost after getting Subsidy | [6 empty] | 79255.132
Banking Detail |  |  |  |  | Required Documents
Bank Name: |  | AU SMALL FINANCE BANK |  |  | 1) Latest Electricity Bill
A/C Name: |  | HI TECH SOLAR SOLUTION |  |  | 2) House Tax Receipt or any house ownership proof
A/C Number: |  | 1107865152531445 |  |  | 3) Aadhar Card
A/C Type: |  | CURRENT ACCOUNT |  |  | 4) Pan Card
IFSC Code: |  | AUBL0002158 |  |  | 5) Cancelled Cheque / Bank Pass Book
Branch: |  | DAHOD |  |  | 6) Passport size photo
System generation & Revenue Details
Solar Roof Top Size: |  |  | 3 | Kw
Generation / Day : |  |  | 15.075Unit |  | Yearly Saving : |  | 46428Rupees
1st Year Generation : |  |  | 5804Kwh |  | 25 Year Saving : |  | 1160700Rupees
Note
1 | Pridicted Generation is Indicative only. It may vary depending upon weather condition. Savings Calculated @ INR 8/Unit
TEARMS AND CONDITIONS
1 | Quotation Validity: The quotation provided is valid for a period of 10 days from the date of issuance. Prices are subject to change after this period.
2 | Warranty: Hi tech solar solution warrants the installation workmanship for a period of 5 years from the date of commissioning. Solar panels,Inverter,MCB,Fuse & cartridges and other equipment are subject to manufacturer warranties, details of which will be provided upon installation.
3 | Maintenance and Service: Hi Tech solar Solution offers optional maintenance and service plans beyond the warranty period. Details of these plans can be provided upon request.
4 | Site Access: The client shall provide unimpeded access to the installation site during agreed-upon times for the duration of the project.
5 | Permits and Approvals: It is the responsibility of the client to obtain any necessary permits, approvals, or licenses required for the installation of the solar plant.
6 | Liability: Hi Tech Solar Solution shall not be liable for any damages or losses resulting from acts of nature, accidents, or misuse of the solar plant after installation.
7 | Changes and Modifications: Any changes or modifications to the project scope must be agreed upon in writing by both parties and may result in adjustments to the project timeline and cost.
8 | Cable length: Described cable length in BOQ is included in standard plant rate. length more than from described BOQ will be charged extra as per Actual.
9 | Plant capacity may vary due to Solar Panel Size avilibility. Final billing amount varry accordingly.
10 | We will repair or, if found necessary replace a defective component of solar system for failure due to manufacturing defects & The repaired/replaced part or Solar system does not carry a new warranty
11 | Exclusions: The warranty does not cover damage caused by acts of nature, accidents, misuse, or unauthorized modifications to the solar plant. Damage resulting from improper installation, maintenance, or servicing by parties other than Hi Tech Solar Solution is not covered under this warranty.
12 | Upon verification of a valid warranty claim,Hi tech Solar Solution will repair or replace the defective components within a reasonable time frame. If repair or replacement is not feasible, Hi tech Solar Solution reserves the right to provide an alternative solution
We agree to above details:
HI - TECH SOLAR SOLUTION |  |  |  |  | Dr Aashish

## Price List (BI-FACIAL)
KW
Quotation / Price List For Residential RTS System Under PM : Surya Ghar Muft Bijli Yojna | [11 empty] | SOLAR PLANT BOQ | [38 empty] | Quotation / Price List For Residential RTS System Under PM : Surya Ghar Muft Bijli Yojna
Name : | [6 empty] | Consumer No : | [43 empty] | Name : | [6 empty] | Consumer No :
Address: | [6 empty] | Contact No: |  |  |  |  | ITEMS | MODULE | INVERTER | STRUCTURE | [6 empty] | ACDB | DCDB | CABLING | [10 empty] | EARTHING KIT | CIVIL WORK | TRANSPORT | METER FEES | ELECTRIFICATION | FABRICATION | OTHER MISC. | TOTAL | COMISSIONING CHARGES | TAXABLE VALUE | GST (70%) | GST (5.7%) | GRAND TOTAL |  |  |  | Address: | [6 empty] | Contact No:
| Type of Solar Panels |  |  | Solar RoofTop System Pricing |  |  |  | System generation & Revenue Details |  |  | Structure BOQ |  |  |  | 60 x 40 HDGI PIPE | 40 X 40 HDGI PIPE | BASE PLATE 125X125 4 MM | J BOULT | WEDGE ANCORE BOULT | CHEMICAL BOTTLE | TOTAL |  |  | AC -2CX2.5 SQMM | DC -1CX2.5 SQMM | AC -2CX4.0 SQMM | DC -1CX4 SQMM | AC - 4CX4SQMM | ERT - 1CX2.5 SQMM | ERT - 1CX4 SQMM | L.A - 1CX16SQMM | 20MM PIPE | 25MM PIPE | TOTAL | [17 empty] | Type of Solar Panels |  |  | Solar RoofTop System Pricing |  |  |  | System generation & Revenue Details |  |  | Structure BOQ
SR NO | No of Module | Module Wattage | DC Capacity (kw) | Discover Rate | Total (Inc.GST) | Subsidy | Basic Plant Cost (-subsidy rate) | Unit Generation / Day | 2 Months Generation (Unit) | 2 Months Saving (INR) | No of HDPGI Pipe Incluid Size(60 x 40) & (40 x 40) | RATE | 24.3 | 5 | 80 | 80 | 35 | 13 | 10 | 850 |  | 0.4 | 0.4 | 65 | 40 | 90 | 53.5 | 200 | 30 | 45 | 18 | 60 | 75 |  | 1200 | 400 | 400 | 0 | 600 | 1100 | 1000 |  | 20% |  | 5% | 18% |  |  |  |  | SR NO | No of Module | Module Wattage | DC Capacity (kw) | Discover Rate | Total (Inc.GST @ 5.7%) | Subsidy | Basic Plant Cost (-subsidy rate) | Unit Generation / Day | 2 Months Generation (Unit) | 2 Months Saving (INR) | No of HDPGI Pipe Incluid Size(60 x 40) & (40 x 40)
1 | 4 | 550 | 2.2 | 55656.612 | 122444.5464 | 63600 | 58844.5464 | 11 | 660 | 5280 | 3 | 2.2 KW | 53460 | 15300 | 4320 | 3600 | 210 | 208 | 240 | 425 | 9003 | 1200 | 880 | 975 | 1600 | 0 | 0 | 0 | 2100 | 0 | 360 | 1200 | 0 | 6235 | 1200 | 1500 | 400 | 0 | 1320 | 3200 | 2200 | 93698 | 18739.6 | 112437.6 | 3935.316 | 6071.6304 | 122444.5464 | 0 | 15639.15 | 9099.15 | 1 | 4 | 545 | 2.18 | 58135.0727 | 126734.4585 | 63240 | 63494.4585 | 10.9 | 654 | 5232 | 3
2 | 5 | 550 | 2.75 | 51257.448 | 140957.982 | 73500 | 67457.982 | 13.75 | 825 | 6600 | 3 | 2.75 KW | 66825 | 15500 | 4320 | 3600 | 210 | 260 | 240 | 425 | 9055 | 1200 | 1100 | 975 | 1600 | 0 | 0 | 0 | 2100 | 0 | 360 | 1200 | 0 | 6235 | 1200 | 1500 | 400 | 0 | 1650 | 3200 | 2750 | 107865 | 21573 | 129438 | 4530.33 | 6989.652 | 140957.982 | 0 | 17831.4375 | 9656.4375 | 2 | 5 | 545 | 2.725 | 53027.5324 | 144500.0257 | 73050 | 71450.0257 | 13.625 | 817.5 | 6540 | 3
3 | 6 | 550 | 3.3 | 48653.352 | 160556.0616 | 78000 | 82556.0616 | 16.5 | 990 | 7920 | 3 | 3.3 KW | 80190 | 15500 | 4320 | 3600 | 210 | 312 | 240 | 425 | 9107 | 1320 | 1320 | 975 | 1600 | 0 | 0 | 0 | 2100 | 0 | 360 | 1200 | 0 | 6235 | 1200 | 1980 | 400 | 0 | 1980 | 3630 | 3300 | 122862 | 24572.4 | 147434.4 | 5160.204 | 7961.4576 | 160556.0616 | 0 | 20264.55 | 10454.55 | 3 | 6 | 545 | 3.27 | 50219.3145 | 164217.1583 | 78000 | 86217.1583 | 16.35 | 981 | 7848 | 3
4 | 7 | 550 | 3.85 | 49890.5691 | 192078.6912 | 78000 | 114078.6912 | 19.25 | 1155 | 9240 | 3 | 3.85 KW | 93555 | 24500 | 4320 | 3600 | 210 | 364 | 240 | 425 | 9159 | 1540 | 1540 | 975 | 1600 | 0 | 0 | 0 | 2100 | 0 | 360 | 1200 | 0 | 6235 | 1200 | 2310 | 400 | 0 | 2310 | 4235 | 3850 | 146984 | 29396.8 | 176380.8 | 6173.328 | 9524.5632 | 192078.6912 | 0 | 24565.725 | 13120.725 | 4 | 7 | 545 | 3.815 | 52181.5064 | 199072.4468 | 78000 | 121072.4468 | 19.075 | 1144.5 | 9156 | 3
5 | 8 | 550 | 4.4 | 48145.482 | 211840.1208 | 78000 | 133840.1208 | 22 | 1320 | 10560 | 3 | 4.4 KW | 106920 | 24500 | 4320 | 3600 | 210 | 416 | 240 | 425 | 9211 | 1760 | 1760 | 975 | 1600 | 0 | 0 | 0 | 2100 | 0 | 360 | 1200 | 0 | 6235 | 1200 | 2640 | 400 | 0 | 2640 | 4840 | 4400 | 162106 | 32421.2 | 194527.2 | 6808.452 | 10504.4688 | 211840.1208 | 0 | 27516.9 | 14436.9 | 5 | 8 | 545 | 4.36 | 47578.0094 | 207440.1208 | 78000 | 129440.1208 | 21.8 | 1308 | 10464 | 3
6 | 9 | 550 | 4.95 | 49550.952 | 245277.2124 | 78000 | 167277.2124 | 24.75 | 1485 | 11880 | 4 | 4.95 KW | 120285 | 29000 | 5760 | 4800 | 280 | 468 | 320 | 425 | 12053 | 1980 | 1980 | 0 | 0 | 1350 | 2675 | 0 | 0 | 3150 | 360 | 0 | 1875 | 9410 | 1200 | 2970 | 400 | 0 | 2970 | 5445 | 4950 | 187693 | 37538.6 | 225231.6 | 7883.106 | 12162.5064 | 245277.2124 | 0 | 31143.075 | 16428.075 | 6 | 9 | 545 | 4.905 | 48996.3736 | 240327.2124 | 78000 | 162327.2124 | 24.525 | 1471.5 | 11772 | 4
7 | 10 | 550 | 5.5 | 48188.844 | 265038.642 | 78000 | 187038.642 | 27.5 | 1650 | 13200 | 4 | 5.5 KW | 133650 | 29000 | 5760 | 4800 | 280 | 520 | 320 | 425 | 12105 | 2200 | 2200 | 0 | 0 | 1350 | 2675 | 0 | 0 | 3150 | 360 | 0 | 1875 | 9410 | 1200 | 3300 | 400 | 0 | 3300 | 6050 | 5500 | 202815 | 40563 | 243378 | 8518.23 | 13142.412 | 265038.642 | 0 | 34094.25 | 17744.25 | 7 | 10 | 545 | 5.45 | 47621.7692 | 259538.642 | 78000 | 181538.642 | 27.25 | 1635 | 13080 | 4
8 | 11 | 550 | 6.05 | 47893.032 | 289752.8436 | 78000 | 211752.8436 | 30.25 | 1815 | 14520 | 5 | 6.05 KW | 147015 | 30000 | 7200 | 6000 | 350 | 572 | 400 | 425 | 14947 | 2420 | 2420 | 0 | 0 | 1350 | 2675 | 0 | 0 | 3150 | 360 | 0 | 1875 | 9410 | 1200 | 3630 | 400 | 0 | 3630 | 6655 | 6050 | 221727 | 44345.4 | 266072.4 | 9312.534 | 14367.9096 | 289752.8436 | 0 | 37195.425 | 19210.425 | 8 | 11 | 545 | 5.995 | 47323.2433 | 283702.8436 | 78000 | 205702.8436 | 29.975 | 1798.5 | 14388 | 5
9 | 12 | 550 | 6.6 | 47687.112 | 314734.9392 | 78000 | 236734.9392 | 33 | 1980 | 15840 | 5 | 6.6 KW | 160380 | 30000 | 7200 | 6000 | 350 | 624 | 400 | 425 | 14999 | 2640 | 2640 | 0 | 0 | 0 | 3745 | 3600 | 0 | 3150 | 360 | 0 | 2250 | 13105 | 1200 | 3960 | 700 | 0 | 3960 | 7260 | 6600 | 240844 | 48168.8 | 289012.8 | 10115.448 | 15606.6912 | 314734.9392 | 0 | 40199.1 | 20579.1 | 9 | 12 | 545 | 6.54 | 47115.4341 | 308134.9392 | 78000 | 230134.9392 | 32.7 | 1962 | 15696 | 5
10 | 13 | 550 | 7.15 | 47292.6351 | 338142.3408 | 78000 | 260142.3408 | 35.75 | 2145 | 17160 | 6 | 7.15 KW | 173745 | 30000 | 8640 | 7200 | 420 | 676 | 480 | 425 | 17841 | 2860 | 2860 | 0 | 0 | 0 | 3745 | 3600 | 0 | 3150 | 360 | 0 | 2250 | 13105 | 1200 | 4290 | 700 | 0 | 4290 | 7865 | 7150 | 258756 | 51751.2 | 310507.2 | 10867.752 | 16767.3888 | 338142.3408 | 0 | 43150.275 | 21895.275 | 10 | 13 | 545 | 7.085 | 46717.3382 | 330992.3408 | 78000 | 252992.3408 | 35.425 | 2125.5 | 17004 | 6
11 | 14 | 550 | 7.7 | 50129.8663 | 385999.9704 | 78000 | 307999.9704 | 38.5 | 2310 | 18480 | 6 | 7.7 KW | 187110 | 51500 | 8640 | 7200 | 420 | 728 | 480 | 425 | 17893 | 3080 | 3080 | 0 | 0 | 0 | 3745 | 3600 | 0 | 3150 | 360 | 0 | 2250 | 13105 | 1200 | 4620 | 700 | 0 | 4620 | 8470 | 7700 | 295378 | 59075.6 | 354453.6 | 12405.876 | 19140.4944 | 385999.9704 | 0 | 49326.45 | 26436.45 | 11 | 14 | 545 | 7.63 | 49580.599 | 378299.9704 | 78000 | 300299.9704 | 38.15 | 2289 | 18312 | 6
12 | 15 | 550 | 8.25 | 49183.2 | 405761.4 | 78000 | 327761.4 | 41.25 | 2475 | 19800 | 6 | 8.25 KW | 200475 | 51500 | 8640 | 7200 | 420 | 780 | 480 | 425 | 17945 | 3300 | 3300 | 0 | 0 | 0 | 3745 | 3600 | 0 | 3150 | 360 | 0 | 2250 | 13105 | 1200 | 4950 | 700 | 0 | 4950 | 9075 | 8250 | 310500 | 62100 | 372600 | 13041 | 20120.4 | 405761.4 | 0 | 52277.625 | 27752.625 | 12 | 15 | 545 | 8.175 | 48625.2477 | 397511.4 | 78000 | 319511.4 | 40.875 | 2452.5 | 19620 | 6
13 | 16 | 550 | 8.8 | 48769.182 | 429168.8016 | 78000 | 351168.8016 | 44 | 2640 | 21120 | 7 | 8.8 KW | 213840 | 51500 | 10080 | 8400 | 490 | 832 | 560 | 425 | 20787 | 3520 | 3520 | 0 | 0 | 0 | 3745 | 3600 | 0 | 3150 | 360 | 0 | 2250 | 13105 | 1200 | 5280 | 700 | 0 | 5280 | 9680 | 8800 | 328412 | 65682.4 | 394094.4 | 13793.304 | 21281.0976 | 429168.8016 | 0 | 55228.8 | 29068.8 | 13 | 16 | 545 | 8.72 | 48207.4314 | 420368.8016 | 78000 | 342368.8016 | 43.6 | 2616 | 20928 | 7
14 | 17 | 550 | 9.35 | 48013.9285 | 448930.2312 | 78000 | 370930.2312 | 46.75 | 2805 | 22440 | 7 | 9.35 KW | 227205 | 51500 | 10080 | 8400 | 490 | 884 | 560 | 425 | 20839 | 3740 | 3740 | 0 | 0 | 0 | 3745 | 3600 | 0 | 3150 | 360 | 0 | 2250 | 13105 | 1200 | 5610 | 700 | 0 | 5610 | 10285 | 9350 | 343534 | 68706.8 | 412240.8 | 14428.428 | 22261.0032 | 448930.2312 | 0 | 58179.975 | 30384.975 | 14 | 17 | 545 | 9.265 | 47445.2489 | 439580.2312 | 78000 | 361580.2312 | 46.325 | 2779.5 | 22236 | 7
15 | 18 | 550 | 9.9 | 47974.872 | 474951.2328 | 78000 | 396951.2328 | 49.5 | 2970 | 23760 | 8 | 9.9 KW | 240570 | 53500 | 11520 | 9600 | 560 | 936 | 640 | 425 | 23681 | 3960 | 3960 | 0 | 0 | 0 | 3745 | 3600 | 0 | 3150 | 360 | 0 | 2250 | 13105 | 1200 | 5940 | 700 | 0 | 5940 | 10890 | 9900 | 363446 | 72689.2 | 436135.2 | 15264.732 | 23551.3008 | 474951.2328 | 0 | 61431.15 | 32001.15 | 15 | 18 | 545 | 9.81 | 47405.8341 | 465051.2328 | 78000 | 387051.2328 | 49.05 | 2943 | 23544 | 8
Electrical Item BOQ | [50 empty] | Electrical Item BOQ
2 kw to 4.5 kw |  |  |  | 5 kw to 6 kw |  |  |  | 6 kw to 10 kw |  |  |  | SUNGROW | [8 empty] | SOLARYAAN | [29 empty] | 2 kw to 4.5 kw |  |  |  | 5 kw to 6 kw |  |  |  | 6 kw to 10 kw
Item |  |  | Quantity(MTR) | Item |  |  | Quantity(MTR) | Item |  |  | Quantity(MTR) | INV - SG3.0RS |  | 15800 | [6 empty] | INV - SG3.0RS |  | 14500 | [27 empty] | Item |  |  | Quantity | Item |  |  | Quantity | Item |  |  | Quantity
2C X 2.5 SQMM CU.FLEX CABLE (AC) |  |  | 15 | 2C X 4 SQMM CU.FLEX CABLE (AC) |  |  | 15 | 4C X 4 SQMM CU.FLEX CABLE (AC) |  |  | 18 | INV - SG3.6RS |  | 15800 | [6 empty] | INV - SG3.6RS |  | 14500 | [27 empty] | 2C X 2.5 SQMM CU.FLEX CABLE (AC) |  |  | 10 MTR | 2C X 4 SQMM CU.FLEX CABLE (AC) |  |  | 15 MTR | 3C X 4 SQMM CU.FLEX CABLE (AC) |  |  | 15 MTR
1C X 2.5 SQMM CU.FLEX CABLE (DC) |  |  | 40 | 1C X 4 SQMM CU.FLEX CABLE (DC) |  |  | 50 | 1C X 4 SQMM CU.FLEX CABLE (DC) |  |  | 70 | INV - SG4.0RS |  | 24500 | [6 empty] | INV - SG4.0RS |  | 19500 | [27 empty] | 1C X 2.5 SQMM CU.FLEX CABLE (DC) |  |  | 40 MTR | 1C X 4 SQMM CU.FLEX CABLE (DC) |  |  | 50 MTR | 1C X 4 SQMM CU.FLEX CABLE (DC) |  |  | 60 MTR
1C X 2.5 SQMM CU.FLEX CABLE (EARTHING) |  |  | 70 | 1C X 4 SQMM CU.FLEX CABLE (EARTHING) |  |  | 70 | 1C X 4 SQMM CU.FLEX CABLE (EARTHING) |  |  | 70 | INV - SG5.0RS |  | 29000 | [6 empty] | INV - SG5.0RS |  | 25500 | [27 empty] | 1C X 2.5 SQMM CU.FLEX CABLE (EARTHING) |  |  | 70 MTR | 1C X 4 SQMM CU.FLEX CABLE (EARTHING) |  |  | 70 MTR | 1C X 4 SQMM CU.FLEX CABLE (EARTHING) |  |  | 70 MTR
1C X 16 SQMM AL.FLEX CABLE (LA) |  |  | 20 | 1C X 16 SQMM AL.FLEX CABLE (LA) |  |  | 20 | 1C X 16 SQMM AL.FLEX CABLE (LA) |  |  | 20 | INV - SG6.0RS |  | 30000 | [6 empty] | INV - SG6.0RS |  | 26000 | [27 empty] | 1C X 16 SQMM AL.FLEX CABLE (LA) |  |  | 20 MTR | 1C X 16 SQMM AL.FLEX CABLE (LA) |  |  | 20 MTR | 1C X 16 SQMM AL.FLEX CABLE (LA) |  |  | 20 MTR
20 MM PVC PIPE WITH SADDLE - NOS |  |  | 20 | 25 MM PVC PIPE WITH SADDLE - NOS |  |  | 25 | 25 MM PVC PIPE WITH SADDLE - NOS |  |  | 30 | INV - SG5.0RT | [8 empty] | INV - SG5.0RT | [29 empty] | 20 MM PVC PIPE WITH SADDLE |  |  | 15 NOS | 25 MM PVC PIPE WITH SADDLE |  |  | 20 NOS | 25 MM PVC PIPE WITH SADDLE |  |  | 20 NOS
20 MM ELBO - NOS |  |  | 15 | 25 MM ELBO - NOS |  |  | 20 | 25 MM ELBO - NOS |  |  | 20 | INV - SG6.0RT |  | 47000 | [6 empty] | INV - SG6.0RT | [29 empty] | 20 MM ELBO |  |  | 15 NOS | 25 MM ELBO |  |  | 20 NOS | 25 MM ELBO |  |  | 20 NOS
20 MM TEE - NOS |  |  | 5 | 25 MM TEE - NOS |  |  | 7 | 25 MM TEE - NOS |  |  | 7 | INV - SG8.0RT |  | 51500 | [6 empty] | INV - SG8.0RT | [29 empty] | 20 MM TEE |  |  | 5 NOS | 25 MM TEE |  |  | 7 NOS | 25 MM TEE |  |  | 7 NOS
Banking Detail |  |  |  | Required Documents |  |  | ITEM AND ITS MAKE |  |  |  |  | INV - SG10RT |  | 53500 | [6 empty] | INV - SG10RT | [29 empty] | Banking Detail |  |  |  | Required Documents |  |  | ITEM AND ITS MAKE
Bank Name : |  | AU SMALL FINANCE BANK |  | 1 | ELECTRICITY BILL |  | SOLAR MODULE |  | ADANI BI FACIAL | [41 empty] | Bank Name : |  | AU SMALL FINANCE BANK |  | 1 | ELECTRICITY BILL |  | SOLAR MODULE |  | ADANI / VIKRAM / WAAREE
A/C Name : |  | HI TECH SOLAR SOLUTION |  | 2 | BANK DETAILS |  | SOLAR INVERTER |  | SUNGROW | [41 empty] | A/C Name : |  | HI TECH SOLAR SOLUTION |  | 2 | BANK DETAILS |  | SOLAR INVERTER |  | SUNGROW
A/C Type : |  | CURRENT ACCOUNT |  | 3 | AADHAR CARD |  | ACDB & DCDB |  | MCB :-Schneider & SPD :-Finder | [41 empty] | A/C Type : |  | CURRENT ACCOUNT |  | 3 | AADHAR CARD |  | ACDB & DCDB |  | MCB :-Schneider & SPD :-Finder
A/C Number : |  | 1107865152531445 |  | 4 | PAN CARD |  | WIRES AND CABLES |  | DC CABLE - HAVELLS ¦ AC CABLE - APAAR | [41 empty] | A/C Number : |  | 1107865152531445 |  | 4 | PAN CARD |  | WIRES AND CABLES |  | APAAR / POLYCAB
IFSC Code : |  | AUBL0002158 |  |  |  |  | Module Mounting Structure |  | 60 MICRONES HDPGI (HINDUSTAR MAKE) | [41 empty] | IFSC Code : |  | AUBL0002158 |  |  |  |  | Module Mounting Structure |  | 60 MICRONES HDPGI
Branch : |  | DAHOD |  |  |  |  | EARTHING & LA |  | 1.5 MTR COPPER BOUNDED ROAD | [41 empty] | Branch : |  | DAHOD |  |  |  |  | EARTHING & LA |  | COPPER BOUNDED
TEARMS AND CONDITIONS | [50 empty] | TEARMS AND CONDITIONS
1 | Described cable length in BOQ is included in standard plant rate. If length more than from described BOQ will be charged 250RS/FEET/KW Upto 4.5 kw ,350RS/FEET/KW From 4.5 to 6 kw & 450RS/FEET/KW From 6 to 10 kw as per Actual. | [49 empty] | 1 | Described cable length in BOQ is included in standard plant rate. If length more than from described BOQ will be charged 250RS/FEET/KW Upto 4.5 kw ,350RS/FEET/KW From 4.5 to 6 kw & 450RS/FEET/KW From 6 to 10 kw as per Actual.
2 | 6 to 8 feet hight Structure is included in standard plant rate. If Structure Hight more than from described BOQ will be charged 500RS/FEET/KW As per Actual | [49 empty] | 2 | 6 to 8 feet hight Structure is included in standard plant rate. If Structure Hight more than from described BOQ will be charged 500RS/FEET/KW As per Actual
3 | Any charge of the solar meter will have to be paid by the consumer himself. Solar meter chargers are not included in this quotation. | [49 empty] | 3 | Any charge of the solar meter will have to be paid by the consumer himself. Solar meter chargers are not included in this quotation.
4 | Plant capacity may vary due to Solar Panel Size avilibility. Final billing amount varry accordingly. | [49 empty] | 4 | Plant capacity may vary due to Solar Panel Size avilibility. Final billing amount varry accordingly.
5 | Warranty: Hi tech solar solution warrants the installation workmanship for a period of 5 years from the date of commissioning. Solar panels,Inverter,MCB,Fuse & cartridges and other equipment are subject to manufacturer warranties, details of which will be provided upon installation. | [49 empty] | 5 | Warranty: Hi tech solar solution warrants the installation workmanship for a period of 5 years from the date of commissioning. Solar panels,Inverter,MCB,Fuse & cartridges and other equipment are subject to manufacturer warranties, details of which will be provided upon installation.
6 | We will repair or, if found necessary replace a defective component of solar system for failure due to manufacturing defects & The repaired/replaced part or Solar system does not carry a new warranty | [49 empty] | 6 | We will repair or, if found necessary replace a defective component of solar system for failure due to manufacturing defects & The repaired/replaced part or Solar system does not carry a new warranty
7 | Changes and Modifications: Any changes or modifications to the project scope must be agreed upon in writing by both parties and may result in adjustments to the project timeline and cost. | [49 empty] | 7 | Changes and Modifications: Any changes or modifications to the project scope must be agreed upon in writing by both parties and may result in adjustments to the project timeline and cost.
8 | Exclusions: The warranty does not cover damage caused by acts of nature, accidents, misuse, or unauthorized modifications to the solar plant. Damage resulting from improper installation, maintenance, or servicing by parties other than Hi Tech Solar Solution is not covered under this warranty. | [49 empty] | 8 | Exclusions: The warranty does not cover damage caused by acts of nature, accidents, misuse, or unauthorized modifications to the solar plant. Damage resulting from improper installation, maintenance, or servicing by parties other than Hi Tech Solar Solution is not covered under this warranty.
9 | Liability: Hi Tech Solar Solution shall not be liable for any damages or losses resulting from acts of nature, accidents, or misuse of the solar plant after installation. | [49 empty] | 9 | Liability: Hi Tech Solar Solution shall not be liable for any damages or losses resulting from acts of nature, accidents, or misuse of the solar plant after installation.
10 | Warranty: Hi tech solar solution warrants the installation workmanship for a period of 5 years from the date of commissioning. Solar panels,Inverter,MCB,Fuse & cartridges and other equipment are subject to manufacturer warranties, details of which will be provided upon installation. | [49 empty] | 10 | Warranty: Hi tech solar solution warrants the installation workmanship for a period of 5 years from the date of commissioning. Solar panels,Inverter,MCB,Fuse & cartridges and other equipment are subject to manufacturer warranties, details of which will be provided upon installation.
11 | Quotation Validity: The quotation provided is valid for a period of 10 days from the date of issuance. Prices are subject to change after this period. | [49 empty] | 11 | Quotation Validity: The quotation provided is valid for a period of 10 days from the date of issuance. Prices are subject to change after this period.
12 | Subsidy Amount is subject to PM- SURYA GHAR: MUFT BIJLI YOJNA . HI-TECH SOLAR SOLUTION IS NOT RESPONSIBLE FOR ANY KIND OF CHANGES / DELAYS AND DEDUCTION IN SUBSIDY RATE. | [49 empty] | 12 | Subsidy Amount is subject to PM- SURYA GHAR: MUFT BIJLI YOJNA . HI-TECH SOLAR SOLUTION IS NOT RESPONSIBLE FOR ANY KIND OF CHANGES / DELAYS AND DEDUCTION IN SUBSIDY RATE.

## Price List (TOPCON)
KW
Quotation / Price List For Residential RTS System Under PM : Surya Ghar Muft Bijli Yojna | [11 empty] | SOLAR PLANT BOQ
Name : | [6 empty] | Consumer No :
Address: | [6 empty] | Contact No: |  |  |  |  | ITEMS | MODULE | INVERTER | STRUCTURE | [6 empty] | ACDB | DCDB | CABLING | [10 empty] | EARTHING KIT | CIVIL WORK | TRANSPORT | METER FEES | ELECTRIFICATION | FABRICATION | OTHER MISC. | TOTAL | COMISSIONING CHARGES | TAXABLE VALUE | GST (70%) | GST (5.7%) | GRAND TOTAL
| Type of Solar Panels |  |  | Solar RoofTop System Pricing |  |  |  | System generation & Revenue Details |  |  | Structure BOQ |  |  |  | 60 x 40 HDGI PIPE | 40 X 40 HDGI PIPE | BASE PLATE 125X125 4 MM | J BOULT | WEDGE ANCORE BOULT | CHEMICAL BOTTLE | TOTAL |  |  | AC -2CX2.5 SQMM | DC -1CX2.5 SQMM | AC -2CX4.0 SQMM | DC -1CX4 SQMM | AC - 4CX4SQMM | ERT - 1CX2.5 SQMM | ERT - 1CX4 SQMM | L.A - 1CX16SQMM | 20MM PIPE | 25MM PIPE | TOTAL
SR NO | No of Module | Module Wattage | DC Capacity (kw) | Discover Rate | Total (Inc.GST @ 5.7%) | Subsidy | Basic Plant Cost (-subsidy rate) | Unit Generation / Day | 2 Months Generation (Unit) | 2 Months Saving (INR) | No of HDPGI Pipe Incluid Size(60 x 40) & (40 x 40) | RATE | 25.4 | 5 | 80 | 80 | 35 | 13 | 10 | 850 |  | 0.4 | 0.4 | 65 | 40 | 90 | 53.5 | 200 | 30 | 45 | 18 | 60 | 75 |  | 1200 | 400 | 400 | 0 | 600 | 1100 | 1000 |  | 20% |  | 5% | 18%
1 | 4 | 620 | 2.48 | 54543.0919 | 135266.868 | 68640 | 66626.868 | 12.4 | 744 | 5952 | 3 | 2.48 KW | 62992 | 15300 | 4320 | 3600 | 210 | 208 | 240 | 425 | 9003 | 1200 | 992 | 975 | 1600 | 0 | 0 | 0 | 2100 | 0 | 360 | 1200 | 0 | 6235 | 1200 | 1500 | 400 | 0 | 1488 | 3200 | 2480 | 103510 | 20702 | 124212 | 4347.42 | 6707.448 | 135266.868 | 0
2 | 5 | 620 | 3.1 | 50640.6077 | 156985.884 | 78000 | 78985.884 | 15.5 | 930 | 7440 | 3 | 3.1 KW | 78740 | 15500 | 4320 | 3600 | 210 | 260 | 240 | 425 | 9055 | 1200 | 1240 | 975 | 1600 | 0 | 0 | 0 | 2100 | 0 | 360 | 1200 | 0 | 6235 | 1200 | 1500 | 400 | 0 | 1860 | 3200 | 3100 | 120130 | 24026 | 144156 | 5045.46 | 7784.424 | 156985.884 | 0
3 | 6 | 620 | 3.72 | 51801.9735 | 192703.3416 | 78000 | 114703.3416 | 18.6 | 1116 | 8928 | 3 | 3.72 KW | 94488 | 24500 | 4320 | 3600 | 210 | 312 | 240 | 425 | 9107 | 1488 | 1488 | 975 | 1600 | 0 | 0 | 0 | 2100 | 0 | 360 | 1200 | 0 | 6235 | 1200 | 2232 | 400 | 0 | 2232 | 4092 | 3720 | 147462 | 29492.4 | 176954.4 | 6193.404 | 9555.5376 | 192703.3416 | 0
4 | 7 | 620 | 4.34 | 49737.892 | 215862.4512 | 78000 | 137862.4512 | 21.7 | 1302 | 10416 | 3 | 4.34 KW | 110236 | 24500 | 4320 | 3600 | 210 | 364 | 240 | 425 | 9159 | 1736 | 1736 | 975 | 1600 | 0 | 0 | 0 | 2100 | 0 | 360 | 1200 | 0 | 6235 | 1200 | 2604 | 400 | 0 | 2604 | 4774 | 4340 | 165184 | 33036.8 | 198220.8 | 6937.728 | 10703.9232 | 215862.4512 | 0
5 | 8 | 620 | 4.96 | 50343.6796 | 249704.6508 | 78000 | 171704.6508 | 24.8 | 1488 | 11904 | 3 | 4.96 KW | 125984 | 29500 | 4320 | 3600 | 210 | 416 | 240 | 425 | 9211 | 1984 | 1984 | 0 | 0 | 1350 | 2675 | 0 | 0 | 3150 | 360 | 0 | 1875 | 9410 | 1200 | 2976 | 400 | 0 | 2976 | 5456 | 4960 | 191081 | 38216.2 | 229297.2 | 8025.402 | 12382.0488 | 249704.6508 | 0
6 | 9 | 620 | 5.58 | 49553.7155 | 276509.7324 | 78000 | 198509.7324 | 27.9 | 1674 | 13392 | 4 | 5.58 KW | 141732 | 29500 | 5760 | 4800 | 280 | 468 | 320 | 425 | 12053 | 2232 | 2232 | 0 | 0 | 1350 | 2675 | 0 | 0 | 3150 | 360 | 0 | 1875 | 9410 | 1200 | 3348 | 400 | 0 | 3348 | 6138 | 5580 | 211593 | 42318.6 | 253911.6 | 8886.906 | 13711.2264 | 276509.7324 | 0
7 | 10 | 620 | 6.2 | 48439.0713 | 300322.242 | 78000 | 222322.242 | 31 | 1860 | 14880 | 4 | 6.2 KW | 157480 | 30000 | 5760 | 4800 | 280 | 520 | 320 | 425 | 12105 | 2480 | 2480 | 0 | 0 | 1350 | 2675 | 0 | 0 | 3150 | 360 | 0 | 1875 | 9410 | 1200 | 3720 | 400 | 0 | 3720 | 6820 | 6200 | 229815 | 45963 | 275778 | 9652.23 | 14892.012 | 300322.242 | 0
8 | 12 | 620 | 7.44 | 47650.6002 | 354520.4652 | 78000 | 276520.4652 | 37.2 | 2232 | 17856 | 6 | 7.44 KW | 188976 | 30500 | 8640 | 7200 | 420 | 624 | 480 | 425 | 17789 | 2976 | 2976 | 0 | 0 | 0 | 0 | 3600 | 0 | 3150 | 360 | 0 | 2250 | 9360 | 1200 | 4464 | 400 | 0 | 4464 | 8184 | 7440 | 271289 | 54257.8 | 325546.8 | 11394.138 | 17579.5272 | 354520.4652 | 0
9 | 14 | 620 | 8.68 | 49461.6272 | 429326.9244 | 78000 | 351326.9244 | 43.4 | 2604 | 20832 | 6 | 8.68 KW | 220472 | 52000 | 8640 | 7200 | 420 | 728 | 480 | 425 | 17893 | 3472 | 3472 | 0 | 0 | 0 | 0 | 3600 | 0 | 3150 | 360 | 0 | 2250 | 9360 | 1200 | 5208 | 700 | 0 | 5208 | 9548 | 8680 | 328533 | 65706.6 | 394239.6 | 13798.386 | 21288.9384 | 429326.9244 | 0
10 | 16 | 620 | 9.92 | 48579.1044 | 481904.7156 | 78000 | 403904.7156 | 49.6 | 2976 | 23808 | 7 | 9.92 KW | 251968 | 54000 | 10080 | 8400 | 490 | 832 | 560 | 425 | 20787 | 3968 | 3968 | 0 | 0 | 0 | 0 | 3600 | 0 | 3150 | 360 | 0 | 2250 | 9360 | 1200 | 5952 | 700 | 0 | 5952 | 10912 | 9920 | 368767 | 73753.4 | 442520.4 | 15488.214 | 23896.1016 | 481904.7156 | 0
Electrical Item BOQ | [11 empty] | INV - SG3.0RS |  | 15800
2 kw to 4.5 kw |  |  |  | 5 kw to 6 kw |  |  |  | 6 kw to 10 kw |  |  |  | INV - SG3.6RS |  | 15800 | [7 empty] | Electrical Item BOQ
Item |  |  | Quantity(MTR) | Item |  |  | Quantity(MTR) | Item |  |  | Quantity(MTR) | INV - SG4.0RS |  | 24500 | [7 empty] | 2 kw to 4.5 kw |  |  |  | 5 kw to 6 kw |  |  |  | 6 kw to 10 kw
2C X 2.5 SQMM CU.FLEX CABLE (AC) |  |  | 15 | 2C X 4 SQMM CU.FLEX CABLE (AC) |  |  | 15 | 4C X 4 SQMM CU.FLEX CABLE (AC) |  |  | 18 | INV - SG5.0RS |  | 29000 | [7 empty] | Item |  |  | Quantity(MTR) | Item |  |  | Quantity(MTR) | Item |  |  | Quantity(MTR)
1C X 2.5 SQMM CU.FLEX CABLE (DC) |  |  | 40 | 1C X 4 SQMM CU.FLEX CABLE (DC) |  |  | 50 | 1C X 4 SQMM CU.FLEX CABLE (DC) |  |  | 70 | INV - SG6.0RS |  | 30000 | [7 empty] | 2C X 2.5 SQMM CU.FLEX CABLE (AC) |  |  | D23 | 2C X 4 SQMM CU.FLEX CABLE (AC) |  |  | H23 | 3C X 4 SQMM CU.FLEX CABLE (AC) |  |  | L23
1C X 2.5 SQMM CU.FLEX CABLE (EARTHING) |  |  | 70 | 1C X 4 SQMM CU.FLEX CABLE (EARTHING) |  |  | 70 | 1C X 4 SQMM CU.FLEX CABLE (EARTHING) |  |  | 70 | INV - SG5.0RT | [9 empty] | 1C X 2.5 SQMM CU.FLEX CABLE (DC) |  |  | D24 | 1C X 4 SQMM CU.FLEX CABLE (DC) |  |  | H24 | 1C X 4 SQMM CU.FLEX CABLE (DC) |  |  | L24
1C X 16 SQMM AL.FLEX CABLE (LA) |  |  | 20 | 1C X 16 SQMM AL.FLEX CABLE (LA) |  |  | 20 | 1C X 16 SQMM AL.FLEX CABLE (LA) |  |  | 20 | INV - SG6.0RT |  | 47000 | [7 empty] | 1C X 2.5 SQMM CU.FLEX CABLE (EARTHING) |  |  | D25 | 1C X 4 SQMM CU.FLEX CABLE (EARTHING) |  |  | H25 | 1C X 4 SQMM CU.FLEX CABLE (EARTHING) |  |  | L25
20 MM PVC PIPE WITH SADDLE - NOS |  |  | 20 | 25 MM PVC PIPE WITH SADDLE - NOS |  |  | 25 | 25 MM PVC PIPE WITH SADDLE - NOS |  |  | 30 | INV - SG8.0RT |  | 51500 | [7 empty] | 1C X 16 SQMM AL.FLEX CABLE (LA) |  |  | D26 | 1C X 16 SQMM AL.FLEX CABLE (LA) |  |  | H26 | 1C X 16 SQMM AL.FLEX CABLE (LA) |  |  | L26
20 MM ELBO - NOS |  |  | 15 | 25 MM ELBO - NOS |  |  | 20 | 25 MM ELBO - NOS |  |  | 20 | INV - SG10RT |  | 53500 | [7 empty] | 20 MM PVC PIPE WITH SADDLE - NOS |  |  | D27 | 25 MM PVC PIPE WITH SADDLE - NOS |  |  | H27 | 25 MM PVC PIPE WITH SADDLE - NOS |  |  | L27
20 MM TEE - NOS |  |  | 5 | 25 MM TEE - NOS |  |  | 7 | 25 MM TEE - NOS |  |  | 7 | [10 empty] | 20 MM ELBO - NOS |  |  | D28 | 25 MM ELBO - NOS |  |  | H28 | 25 MM ELBO - NOS |  |  | L28
Banking Detail |  |  |  | Required Documents |  |  | ITEM AND ITS MAKE | [14 empty] | 20 MM TEE - NOS |  |  | D29 | 25 MM TEE - NOS |  |  | H29 | 25 MM TEE - NOS |  |  | L29
Bank Name : |  | AU SMALL FINANCE BANK |  | 1 | ELECTRICITY BILL |  | SOLAR MODULE |  | ADANI TOPCON BI FACIAL
A/C Name : |  | HI TECH SOLAR SOLUTION |  | 2 | BANK DETAILS |  | SOLAR INVERTER |  | SUNGROW
A/C Type : |  | CURRENT ACCOUNT |  | 3 | AADHAR CARD |  | ACDB & DCDB |  | MCB :-Schneider & SPD :-Finder
A/C Number : |  | 1107865152531445 |  | 4 | PAN CARD |  | WIRES AND CABLES |  | DC CABLE - HAVELLS ¦ AC CABLE - APAAR
IFSC Code : |  | AUBL0002158 |  |  |  |  | Module Mounting Structure |  | 60 MICRONES HDPGI (HINDUSTAR MAKE)
Branch : |  | DAHOD |  |  |  |  | EARTHING & LA |  | COPPER BOUNDED
TEARMS AND CONDITIONS
1 | Described cable length in BOQ is included in standard plant rate. If length more than from described BOQ will be charged 250RS/FEET/KW Upto 4.5 kw ,350RS/FEET/KW From 4.5 to 6 kw & 450RS/FEET/KW From 6 to 10 kw as per Actual.
2 | 6 to 8 feet hight Structure is included in standard plant rate. If Structure Hight more than from described BOQ will be charged 500RS/FEET/KW As per Actual
3 | Any charge of the solar meter will have to be paid by the consumer himself. Solar meter chargers are not included in this quotation.
4 | Plant capacity may vary due to Solar Panel Size avilibility. Final billing amount varry accordingly.
5 | Warranty: Hi tech solar solution warrants the installation workmanship for a period of 5 years from the date of commissioning. Solar panels,Inverter,MCB,Fuse & cartridges and other equipment are subject to manufacturer warranties, details of which will be provided upon installation.
6 | We will repair or, if found necessary replace a defective component of solar system for failure due to manufacturing defects & The repaired/replaced part or Solar system does not carry a new warranty
7 | Changes and Modifications: Any changes or modifications to the project scope must be agreed upon in writing by both parties and may result in adjustments to the project timeline and cost.
8 | Exclusions: The warranty does not cover damage caused by acts of nature, accidents, misuse, or unauthorized modifications to the solar plant. Damage resulting from improper installation, maintenance, or servicing by parties other than Hi Tech Solar Solution is not covered under this warranty.
9 | Liability: Hi Tech Solar Solution shall not be liable for any damages or losses resulting from acts of nature, accidents, or misuse of the solar plant after installation.
10 | Warranty: Hi tech solar solution warrants the installation workmanship for a period of 5 years from the date of commissioning. Solar panels,Inverter,MCB,Fuse & cartridges and other equipment are subject to manufacturer warranties, details of which will be provided upon installation.
11 | Quotation Validity: The quotation provided is valid for a period of 10 days from the date of issuance. Prices are subject to change after this period.
12 | Subsidy Amount is subject to PM- SURYA GHAR: MUFT BIJLI YOJNA . HI-TECH SOLAR SOLUTION IS NOT RESPONSIBLE FOR ANY KIND OF CHANGES / DELAYS AND DEDUCTION IN SUBSIDY RATE.

## PL Pahal (TOPCON)
KW
Quotation / Price List For Residential RTS System Under PM : Surya Ghar Muft Bijli Yojna | [11 empty] | SOLAR PLANT BOQ
Name : | [6 empty] | Consumer No :
Address: | [6 empty] | Contact No: |  |  |  |  | ITEMS | MODULE | INVERTER | STRUCTURE | [6 empty] | ACDB | DCDB | CABLING | [10 empty] | EARTHING KIT | CIVIL WORK | TRANSPORT | METER FEES | ELECTRIFICATION | FABRICATION | OTHER MISC. | TOTAL | COMISSIONING CHARGES | TAXABLE VALUE | GST (70%) | GST (5.7%) | GRAND TOTAL
| Type of Solar Panels |  |  | Solar RoofTop System Pricing |  |  |  | System generation & Revenue Details |  |  | Structure BOQ |  |  |  | 60 x 40 HDGI PIPE | 40 X 40 HDGI PIPE | BASE PLATE 125X125 4 MM | J BOULT | WEDGE ANCORE BOULT | CHEMICAL BOTTLE | TOTAL |  |  | AC -2CX2.5 SQMM | DC -1CX2.5 SQMM | AC -2CX4.0 SQMM | DC -1CX4 SQMM | AC - 4CX4SQMM | ERT - 1CX2.5 SQMM | ERT - 1CX4 SQMM | L.A - 1CX16SQMM | 20MM PIPE | 25MM PIPE | TOTAL
SR NO | No of Module | Module Wattage | DC Capacity (kw) | Discover Rate | Total (Inc.GST) | Subsidy | Basic Plant Cost (-subsidy rate) | Unit Generation / Day | 2 Months Generation (Unit) | 2 Months Saving (INR) | No of HDPGI Pipe Incluid Size(60 x 40) & (40 x 40) | RATE | 23.4 | 5 | 80 | 80 | 35 | 13 | 10 | 850 |  | 0.4 | 0.4 | 65 | 40 | 90 | 53.5 | 200 | 30 | 45 | 18 | 60 | 75 |  | 1200 | 400 | 400 | 0 | 600 | 1100 | 1000 |  | 20% |  | 5% | 18%
1 | 4 | 600 | 2.4 | 52597.611 | 126234.2664 | 67200 | 59034.2664 | 12 | 720 | 5760 | 3 | 2.4 KW | 56160 | 15300 | 4320 | 3600 | 210 | 208 | 240 | 425 | 9003 | 1200 | 960 | 975 | 1600 | 0 | 0 | 0 | 2100 | 0 | 360 | 1200 | 0 | 6235 | 1200 | 1500 | 400 | 0 | 1440 | 3200 | 2400 | 96598 | 19319.6 | 115917.6 | 4057.116 | 6259.5504 | 126234.2664 | 0
2 | 5 | 600 | 3 | 48565.044 | 145695.132 | 78000 | 67695.132 | 15 | 900 | 7200 | 3 | 3 KW | 70200 | 15500 | 4320 | 3600 | 210 | 260 | 240 | 425 | 9055 | 1200 | 1200 | 975 | 1600 | 0 | 0 | 0 | 2100 | 0 | 360 | 1200 | 0 | 6235 | 1200 | 1500 | 400 | 0 | 1800 | 3200 | 3000 | 111490 | 22298 | 133788 | 4682.58 | 7224.552 | 145695.132 | 0
3 | 6 | 600 | 3.6 | 46406.646 | 167063.9256 | 78000 | 89063.9256 | 18 | 1080 | 8640 | 3 | 3.6 KW | 84240 | 15500 | 4320 | 3600 | 210 | 312 | 240 | 425 | 9107 | 1440 | 1440 | 975 | 1600 | 0 | 0 | 0 | 2100 | 0 | 360 | 1200 | 0 | 6235 | 1200 | 2160 | 400 | 0 | 2160 | 3960 | 3600 | 127842 | 25568.4 | 153410.4 | 5369.364 | 8284.1616 | 167063.9256 | 0
4 | 7 | 600 | 4.2 | 47540.7617 | 199671.1992 | 78000 | 121671.1992 | 21 | 1260 | 10080 | 3 | 4.2 KW | 98280 | 24500 | 4320 | 3600 | 210 | 364 | 240 | 425 | 9159 | 1680 | 1680 | 975 | 1600 | 0 | 0 | 0 | 2100 | 0 | 360 | 1200 | 0 | 6235 | 1200 | 2520 | 400 | 0 | 2520 | 4620 | 4200 | 152794 | 30558.8 | 183352.8 | 6417.348 | 9901.0512 | 199671.1992 | 0
5 | 8 | 600 | 4.8 | 48166.7423 | 231200.3628 | 78000 | 153200.3628 | 24 | 1440 | 11520 | 3 | 4.8 KW | 112320 | 29500 | 4320 | 3600 | 210 | 416 | 240 | 425 | 9211 | 1920 | 1920 | 0 | 0 | 1350 | 2675 | 0 | 0 | 3150 | 360 | 0 | 1875 | 9410 | 1200 | 2880 | 400 | 0 | 2880 | 5280 | 4800 | 176921 | 35384.2 | 212305.2 | 7430.682 | 11464.4808 | 231200.3628 | 0
6 | 9 | 600 | 5.4 | 47350.446 | 255692.4084 | 78000 | 177692.4084 | 27 | 1620 | 12960 | 4 | 5.4 KW | 126360 | 29500 | 5760 | 4800 | 280 | 468 | 320 | 425 | 12053 | 2160 | 2160 | 0 | 0 | 1350 | 2675 | 0 | 0 | 3150 | 360 | 0 | 1875 | 9410 | 1200 | 3240 | 400 | 0 | 3240 | 5940 | 5400 | 195663 | 39132.6 | 234795.6 | 8217.846 | 12678.9624 | 255692.4084 | 0
7 | 10 | 600 | 6 | 46198.647 | 277191.882 | 78000 | 199191.882 | 30 | 1800 | 14400 | 4 | 6 KW | 140400 | 30000 | 5760 | 4800 | 280 | 520 | 320 | 425 | 12105 | 2400 | 2400 | 0 | 0 | 1350 | 2675 | 0 | 0 | 3150 | 360 | 0 | 1875 | 9410 | 1200 | 3600 | 400 | 0 | 3600 | 6600 | 6000 | 212115 | 42423 | 254538 | 8908.83 | 13745.052 | 277191.882 | 0
8 | 12 | 600 | 7.2 | 45383.8935 | 326764.0332 | 78000 | 248764.0332 | 36 | 2160 | 17280 | 6 | 7.2 KW | 168480 | 30500 | 8640 | 7200 | 420 | 624 | 480 | 425 | 17789 | 2880 | 2880 | 0 | 0 | 0 | 0 | 3600 | 0 | 3150 | 360 | 0 | 2250 | 9360 | 1200 | 4320 | 400 | 0 | 4320 | 7920 | 7200 | 250049 | 50009.8 | 300058.8 | 10502.058 | 16203.1752 | 326764.0332 | 0
9 | 14 | 600 | 8.4 | 47255.2881 | 396944.4204 | 78000 | 318944.4204 | 42 | 2520 | 20160 | 6 | 8.4 KW | 196560 | 52000 | 8640 | 7200 | 420 | 728 | 480 | 425 | 17893 | 3360 | 3360 | 0 | 0 | 0 | 0 | 3600 | 0 | 3150 | 360 | 0 | 2250 | 9360 | 1200 | 5040 | 700 | 0 | 5040 | 9240 | 8400 | 303753 | 60750.6 | 364503.6 | 12757.626 | 19683.1944 | 396944.4204 | 0
10 | 16 | 600 | 9.6 | 46343.3479 | 444896.1396 | 78000 | 366896.1396 | 48 | 2880 | 23040 | 7 | 9.6 KW | 224640 | 54000 | 10080 | 8400 | 490 | 832 | 560 | 425 | 20787 | 3840 | 3840 | 0 | 0 | 0 | 0 | 3600 | 0 | 3150 | 360 | 0 | 2250 | 9360 | 1200 | 5760 | 700 | 0 | 5760 | 10560 | 9600 | 340447 | 68089.4 | 408536.4 | 14298.774 | 22060.9656 | 444896.1396 | 0
Electrical Item BOQ | [11 empty] | INV - SG3.0RS |  | 15800
2 kw to 4.5 kw |  |  |  | 5 kw to 6 kw |  |  |  | 6 kw to 10 kw |  |  |  | INV - SG3.6RS |  | 15800
Item |  |  | Quantity(MTR) | Item |  |  | Quantity(MTR) | Item |  |  | Quantity(MTR) | INV - SG4.0RS |  | 24500
2C X 2.5 SQMM CU.FLEX CABLE (AC) |  |  | 15 | 2C X 4 SQMM CU.FLEX CABLE (AC) |  |  | 15 | 4C X 4 SQMM CU.FLEX CABLE (AC) |  |  | 18 | INV - SG5.0RS |  | 29000
1C X 2.5 SQMM CU.FLEX CABLE (DC) |  |  | 40 | 1C X 4 SQMM CU.FLEX CABLE (DC) |  |  | 50 | 1C X 4 SQMM CU.FLEX CABLE (DC) |  |  | 70 | INV - SG6.0RS |  | 30000
1C X 2.5 SQMM CU.FLEX CABLE (EARTHING) |  |  | 70 | 1C X 4 SQMM CU.FLEX CABLE (EARTHING) |  |  | 70 | 1C X 4 SQMM CU.FLEX CABLE (EARTHING) |  |  | 70 | INV - SG5.0RT
1C X 16 SQMM AL.FLEX CABLE (LA) |  |  | 20 | 1C X 16 SQMM AL.FLEX CABLE (LA) |  |  | 20 | 1C X 16 SQMM AL.FLEX CABLE (LA) |  |  | 20 | INV - SG6.0RT |  | 47000
20 MM PVC PIPE WITH SADDLE - NOS |  |  | 20 | 25 MM PVC PIPE WITH SADDLE - NOS |  |  | 25 | 25 MM PVC PIPE WITH SADDLE - NOS |  |  | 30 | INV - SG8.0RT |  | 51500
20 MM ELBO - NOS |  |  | 15 | 25 MM ELBO - NOS |  |  | 20 | 25 MM ELBO - NOS |  |  | 20 | INV - SG10RT |  | 53500
20 MM TEE - NOS |  |  | 5 | 25 MM TEE - NOS |  |  | 7 | 25 MM TEE - NOS |  |  | 7
Banking Detail |  |  |  | Required Documents |  |  | ITEM AND ITS MAKE
Bank Name : |  | AU SMALL FINANCE BANK |  | 1 | ELECTRICITY BILL |  | SOLAR MODULE |  | PAHAL SOLAR - TOPCON BI - FACIAL
A/C Name : |  | HI TECH SOLAR SOLUTION |  | 2 | BANK DETAILS |  | SOLAR INVERTER |  | SUNGROW
A/C Type : |  | CURRENT ACCOUNT |  | 3 | AADHAR CARD |  | ACDB & DCDB |  | MCB :-Schneider & SPD :-Finder
A/C Number : |  | 1107865152531445 |  | 4 | PAN CARD |  | WIRES AND CABLES |  | DC CABLE - HAVELLS ¦ AC CABLE - APAAR
IFSC Code : |  | AUBL0002158 |  |  |  |  | Module Mounting Structure |  | 60 MICRONES HDPGI (HINDUSTAR MAKE)
Branch : |  | DAHOD |  |  |  |  | EARTHING & LA |  | COPPER BOUNDED
TEARMS AND CONDITIONS
1 | Described cable length in BOQ is included in standard plant rate. If length more than from described BOQ will be charged 250RS/FEET/KW Upto 4.5 kw ,350RS/FEET/KW From 4.5 to 6 kw & 450RS/FEET/KW From 6 to 10 kw as per Actual.
2 | 6 to 8 feet hight Structure is included in standard plant rate. If Structure Hight more than from described BOQ will be charged 500RS/FEET/KW As per Actual
3 | Any charge of the solar meter will have to be paid by the consumer himself. Solar meter chargers are not included in this quotation.
4 | Plant capacity may vary due to Solar Panel Size avilibility. Final billing amount varry accordingly.
5 | Warranty: Hi tech solar solution warrants the installation workmanship for a period of 5 years from the date of commissioning. Solar panels,Inverter,MCB,Fuse & cartridges and other equipment are subject to manufacturer warranties, details of which will be provided upon installation.
6 | We will repair or, if found necessary replace a defective component of solar system for failure due to manufacturing defects & The repaired/replaced part or Solar system does not carry a new warranty
7 | Changes and Modifications: Any changes or modifications to the project scope must be agreed upon in writing by both parties and may result in adjustments to the project timeline and cost.
8 | Exclusions: The warranty does not cover damage caused by acts of nature, accidents, misuse, or unauthorized modifications to the solar plant. Damage resulting from improper installation, maintenance, or servicing by parties other than Hi Tech Solar Solution is not covered under this warranty.
9 | Liability: Hi Tech Solar Solution shall not be liable for any damages or losses resulting from acts of nature, accidents, or misuse of the solar plant after installation.
10 | Warranty: Hi tech solar solution warrants the installation workmanship for a period of 5 years from the date of commissioning. Solar panels,Inverter,MCB,Fuse & cartridges and other equipment are subject to manufacturer warranties, details of which will be provided upon installation.
11 | Quotation Validity: The quotation provided is valid for a period of 10 days from the date of issuance. Prices are subject to change after this period.
12 | Subsidy Amount is subject to PM- SURYA GHAR: MUFT BIJLI YOJNA . HI-TECH SOLAR SOLUTION IS NOT RESPONSIBLE FOR ANY KIND OF CHANGES / DELAYS AND DEDUCTION IN SUBSIDY RATE.

## Sheet2
No of Module | Module Wattage | DC Capacity (kw) | Type
4 | 550 | 2.2 | Bi Facial Adani
4 | 600 | 2.4 | Pahal
4 | 620 | 2.48 | Adani | Input
5 | 550 | 2.75 | Bi Facial Adani | Make
5 | 600 | 3 | Pahal | Solar Module | Bi-facial / Topcon
5 | 620 | 3.1 | Adani | Ratings
6 | 550 | 3.3 | Bi Facial Adani | No of Panels
6 | 600 | 3.6 | Pahal
6 | 620 | 3.72 | Adani | KW | Calculated
7 | 550 | 3.85 | Bi Facial Adani
7 | 600 | 4.2 | Pahal
7 | 620 | 4.34 | Adani
8 | 550 | 4.4 | Bi Facial Adani
8 | 600 | 4.8 | Pahal
9 | 550 | 4.95 | Bi Facial Adani
8 | 620 | 4.96 | Adani
9 | 600 | 5.4 | Pahal
10 | 550 | 5.5 | Bi Facial Adani
9 | 620 | 5.58 | Adani
10 | 600 | 6 | Pahal
11 | 550 | 6.05 | Bi Facial Adani
10 | 620 | 6.2 | Adani
12 | 550 | 6.6 | Bi Facial Adani
13 | 550 | 7.15 | Bi Facial Adani
12 | 600 | 7.2 | Pahal
12 | 620 | 7.44 | Adani
14 | 550 | 7.7 | Bi Facial Adani
15 | 550 | 8.25 | Bi Facial Adani
14 | 600 | 8.4 | Pahal
14 | 620 | 8.68 | Adani
16 | 550 | 8.8 | Bi Facial Adani
17 | 550 | 9.35 | Bi Facial Adani
16 | 600 | 9.6 | Pahal
18 | 550 | 9.9 | Bi Facial Adani
16 | 620 | 9.92 | Adani

## Sheet1
ITEMS |  | RATE
MODULE |  | 24.3
INVERTER |  | 5
STRUCTURE | 60 x 40 HDGI PIPE | 80
| 40 X 40 HDGI PIPE | 80
| BASE PLATE 125X125 4 MM | 35
| J BOULT | 13
| WEDGE ANCORE BOULT | 10
| CHEMICAL BOTTLE | 850
TOTAL
ACDB |  | 0.4
DCDB |  | 0.4
CABLING | AC -2CX2.5 SQMM | 65
| DC -1CX2.5 SQMM | 40
| AC -2CX4.0 SQMM | 90
| DC -1CX4 SQMM | 53.5
| AC - 4CX4SQMM | 200
| ERT - 1CX2.5 SQMM | 30
| ERT - 1CX4 SQMM | 45
| L.A - 1CX16SQMM | 18
| 20MM PIPE | 60
| 25MM PIPE | 75
TOTAL
EARTHING KIT |  | 1200
CIVIL WORK |  | 400
TRANSPORT |  | 400
METER FEES |  | 0
ELECTRIFICATION |  | 600
FABRICATION |  | 1100
OTHER MISC. |  | 1000
TOTAL
COMISSIONING CHARGES |  | 20%

## DATA
Structure Hight | Area | Meter Phase | DISCOM | Cost | Module | Month | Unit/Day | Kwh | INR |  | Module Wattage | No Of Modules | Capacity | Module Cost | Off Grid Inverter Price | Hybrid Inverter Price | Type of Solar Plant:
1 - 3 | Urban | Single Phase | MGVCL | 3500 | Adani-530Wp(Bi-Facial) | Jan | 5.3 | 492.9 | 3943.2 | Nos | 535 | 2 | 1.07 | 40000 | 15500 |  | ON GRID
4-6 | Urban | Single Phase | UGVCL | 3500 | Adani-540Wp(Bi-Facial) | Jan | 5.3 | 492.9 | 3943.2 | Nos | 535 | 3 | 1.605 | 60000 | 17500 |  | OFF GRID
6-8 | Rural | Three Phase | PGVCL | 5500 | Adani-540/545/550 Wp(Bi-Facial) | Fab | 5.3 | 445.2 | 3561.6 | Kwp | 535 | 4 | 2.14 | 80000 | 40000 |  | HYBRID
8-10 |  |  | DGVCL |  | Adani-565/570/575 Wp(Topcon-Bi facial) | March | 5.3 | 492.9 | 3943.2 | Kw | 535 | 5 | 2.675 | 100000 | 60000
10-12 |  |  | TORRENT |  | 620 wp Topcon (Bi-Facial) | April | 5.3 | 477 | 3816 | Sqft | 535 | 6 | 3.21 | 120000 | 74500
12-14 |  |  |  |  | Mono Bi-Facial | May | 5.3 | 492.9 | 3943.2 | Feet | 535 | 7 | 3.745 | 140000 | 74500
[5 empty] | TOPCON BI-FACIAL | Jun | 5.3 | 477 | 3816 | Degree | 535 | 8 | 4.28 | 160000
[5 empty] | 620 wp Topcon (Bi-Facial) | July | 5.3 | 492.9 | 3943.2 | Kwh
[6 empty] | Aug | 5.3 | 492.9 | 3943.2 | INR
[6 empty] | Sep | 5.3 | 477 | 3816 | kw Inverter
[6 empty] | Oct | 5.3 | 492.9 | 3943.2 | Unit
[6 empty] | Nov | 5.3 | 477 | 3816 | Rupees
[6 empty] | Dec | 5.3 | 492.9 | 3943.2
[7 empty] | 68.9 | 5804 | 46428
5.7417