| Month | Unit/Day | Days | Kwh |  | INR |  |
| --- | --- | --- | --- | --- | --- | --- |
| Jan | 4.6 | 31 | 884.12 | [Total Kw]*[Unit]*[Days] | 7072.96 | [Total Kw] * [Electricity Tariff - year1] |
| Fab | 4.6 | 28 | 798.56 | [Total Kw]*[Unit]*[Days] | 6388.48 | [Total Kw] * [Electricity Tariff - year1] |
| March | 5 | 31 | 961 | [Total Kw]*[Unit]*[Days] | 7688.00 | [Total Kw] * [Electricity Tariff - year1] |
| April | 5 | 30 | 930 | [Total Kw]*[Unit]*[Days] | 7440.00 | [Total Kw] * [Electricity Tariff - year1] |
| May | 5 | 31 | 961 | [Total Kw]*[Unit]*[Days] | 7688.00 | [Total Kw] * [Electricity Tariff - year1] |
| Jun | 5 | 30 | 930 | [Total Kw]*[Unit]*[Days] | 7440.00 | [Total Kw] * [Electricity Tariff - year1] |
| July | 4.1 | 31 | 788.02 | [Total Kw]*[Unit]*[Days] | 6304.16 | [Total Kw] * [Electricity Tariff - year1] |
| Aug | 4.1 | 31 | 788.02 | [Total Kw]*[Unit]*[Days] | 6304.16 | [Total Kw] * [Electricity Tariff - year1] |
| Sep | 3.9 | 30 | 725.4 | [Total Kw]*[Unit]*[Days] | 5803.20 | [Total Kw] * [Electricity Tariff - year1] |
| Oct | 4.6 | 31 | 884.12 | [Total Kw]*[Unit]*[Days] | 7072.96 | [Total Kw] * [Electricity Tariff - year1] |
| Nov | 4.6 | 30 | 855.6 | [Total Kw]*[Unit]*[Days] | 6844.80 | [Total Kw] * [Electricity Tariff - year1] |
| Dec | 4.6 | 31 | 884.12 | [Total Kw]*[Unit]*[Days] | 7072.96 | [Total Kw] * [Electricity Tariff - year1] |
|  | 4.59 |  | 10390 |  | 83120 |  |
|  | (total Unit/Day / 12) |  | Sum of [Kwh] |  | Sum of [INR] |  |