| ROI Calculation Table |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Year | Generation (kWh) | Tariff (₹/kWh) | Annual Revenue (₹) | O&M Cost (₹) | Net Savings (₹) | Cumulative Savings (₹) | Payback Status |
| 1 | 8308 | ₹ 8.00 | ₹ 66,464.00 | ₹ 2,821.00 | ₹ 63,643.00 | ₹ 63,643 | no |
|  | [Total Kw]*[Avg Daily Generation] *(365-[Average Yearly Shutdown] | [Electricity Tariff] | [Generation] * [Tariff] | [O&M Cost (Year 1)] | [Annual Revenue ]-[O&M Cost] | [Net Savings] | IF [Cumulative Savings]>=[Installation Cost], Yes, No |
| 2 | 8142 | ₹ 8.24 | ₹ 67,088.76 | ₹ 2,905.63 | ₹ 64,183.13 | ₹ 1,27,826 | no |
|  | [Generation](year above)*(1-[Annual Power Degradation]%) | [Tariff ](year above)*(1-[Tariff Escalation]%) | [Generation] * [Tariff] | [O&M Cost ](year above)*(1-[O&M Cost Escalation]%) | [Annual Revenue ]-[O&M Cost] | [Cumulative Savings ](year above)+[Net Savings] | IF [Cumulative Savings]>=[Installation Cost], Yes, No |
| 3 | 8101 | ₹ 8.49 | ₹ 68,755.92 | ₹ 2,992.80 | ₹ 65,763.12 | ₹ 1,93,589 | no |
| 4 | 8061 | ₹ 8.74 | ₹ 70,464.50 | ₹ 3,082.58 | ₹ 67,381.92 | ₹ 2,60,971 | no |
| 5 | 8020 | ₹ 9.00 | ₹ 72,215.54 | ₹ 3,175.06 | ₹ 69,040.48 | ₹ 3,30,012 | yes |
| 6 | 7980 | ₹ 9.27 | ₹ 74,010.10 | ₹ 3,270.31 | ₹ 70,739.79 | ₹ 4,00,751 | yes |
| 7 | 7940 | ₹ 9.55 | ₹ 75,849.25 | ₹ 3,368.42 | ₹ 72,480.83 | ₹ 4,73,232 | yes |
| 8 | 7901 | ₹ 9.84 | ₹ 77,734.11 | ₹ 3,469.47 | ₹ 74,264.63 | ₹ 5,47,497 | yes |
| 9 | 7861 | ₹ 10.13 | ₹ 79,665.80 | ₹ 3,573.56 | ₹ 76,092.24 | ₹ 6,23,589 | yes |
| 10 | 7822 | ₹ 10.44 | ₹ 81,645.49 | ₹ 3,680.77 | ₹ 77,964.73 | ₹ 7,01,554 | yes |
| 11 | 7783 | ₹ 10.75 | ₹ 83,674.38 | ₹ 3,791.19 | ₹ 79,883.20 | ₹ 7,81,437 | yes |
| 12 | 7744 | ₹ 11.07 | ₹ 85,753.69 | ₹ 3,904.92 | ₹ 81,848.77 | ₹ 8,63,286 | yes |
| 13 | 7705 | ₹ 11.41 | ₹ 87,884.67 | ₹ 4,022.07 | ₹ 83,862.60 | ₹ 9,47,148 | yes |
| 14 | 7667 | ₹ 11.75 | ₹ 90,068.61 | ₹ 4,142.73 | ₹ 85,925.87 | ₹ 10,33,074 | yes |
| 15 | 7628 | ₹ 12.10 | ₹ 92,306.81 | ₹ 4,267.02 | ₹ 88,039.80 | ₹ 11,21,114 | yes |
| 16 | 7590 | ₹ 12.46 | ₹ 94,600.63 | ₹ 4,395.03 | ₹ 90,205.61 | ₹ 12,11,320 | yes |
| 17 | 7552 | ₹ 12.84 | ₹ 96,951.46 | ₹ 4,526.88 | ₹ 92,424.58 | ₹ 13,03,744 | yes |
| 18 | 7514 | ₹ 13.22 | ₹ 99,360.70 | ₹ 4,662.68 | ₹ 94,698.02 | ₹ 13,98,442 | yes |
| 19 | 7477 | ₹ 13.62 | ₹ 1,01,829.82 | ₹ 4,802.56 | ₹ 97,027.25 | ₹ 14,95,470 | yes |
| 20 | 7439 | ₹ 14.03 | ₹ 1,04,360.29 | ₹ 4,946.64 | ₹ 99,413.65 | ₹ 15,94,883 | yes |
| 21 | 7402 | ₹ 14.45 | ₹ 1,06,953.64 | ₹ 5,095.04 | ₹ 1,01,858.60 | ₹ 16,96,742 | yes |
| 22 | 7365 | ₹ 14.88 | ₹ 1,09,611.44 | ₹ 5,247.89 | ₹ 1,04,363.55 | ₹ 18,01,105 | yes |
| 23 | 7328 | ₹ 15.33 | ₹ 1,12,335.28 | ₹ 5,405.33 | ₹ 1,06,929.96 | ₹ 19,08,035 | yes |
| 24 | 7292 | ₹ 15.79 | ₹ 1,15,126.82 | ₹ 5,567.49 | ₹ 1,09,559.33 | ₹ 20,17,595 | yes |
| 25 | 7255 | ₹ 16.26 | ₹ 1,17,987.72 | ₹ 5,734.51 | ₹ 1,12,253.21 | ₹ 21,29,848 | yes |
| 26 | 7219 | ₹ 16.75 | ₹ 1,20,919.71 | ₹ 5,906.55 | ₹ 1,15,013.17 | ₹ 22,44,861 | yes |
| 27 | 7183 | ₹ 17.25 | ₹ 1,23,924.57 | ₹ 6,083.74 | ₹ 1,17,840.82 | ₹ 23,62,702 | yes |
| 28 | 7147 | ₹ 17.77 | ₹ 1,27,004.09 | ₹ 6,266.26 | ₹ 1,20,737.84 | ₹ 24,83,440 | yes |
| 29 | 7111 | ₹ 18.30 | ₹ 1,30,160.14 | ₹ 6,454.24 | ₹ 1,23,705.90 | ₹ 26,07,146 | yes |
| 30 | 7076 | ₹ 18.85 | ₹ 1,33,394.62 | ₹ 6,647.87 | ₹ 1,26,746.75 | ₹ 27,33,892 | yes |

| Graphical Representation Of Yearly Generation V/S Tariff |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Graphical Representation of Annual V/S Cumulative Savings |  |  |  |  |  |  |  |  |  |